## Fill in
Scaffold Inspection Record Template
qhsetech.com/templates/scaffold-inspection-template ¦ General template, not legal or certification advice. Adapt it to your own procedures and to the requirements that apply to you.
Field | Entry | Why it matters
Site or project and location of the scaffold |  | An inspection is true of one structure at one place and time. A location such as the elevation, grid line or lift range lets the next inspector find the same scaffold, and the date and time show how old the finding is.
Scaffold ID or tag number |  | Ties the record to the scaffold's own identity and, where you use tags, to the tag on it. HSE says the provider's information includes a reference number and date to enable recording and checking.
Scaffold type |  | Types differ in what they rely on to stay up and in whose guide applies, such as a system maker's instructions. The options are examples to help the inspector pick the right question set. They are not a standard's classes.
Erected by |  | Names who built it, so a question about the design or a fault can be put to them. A record of an inspection does not replace what the erector hands over.
Design or configuration reference |  | The checks are made against the design or the manufacturer's guide, not against memory. HSE says a scaffold is built to a recognised standard configuration or to a designed calculation, and the reference says which.
Intended use and load class in your design |  | Whether the load on the platforms is acceptable depends on what the design states for the intended use. The form supplies no loads: copy the class and any limit on people or material from your own design. HSE and OSHA both tie use to the design or rated capacity.
Reason for this inspection |  | A first-use inspection, a periodic one, one after weather, after alteration or after an impact answer different questions and may be required by different rules. Which ones apply, and when, is for your jurisdiction and your procedure.
Checks: Yes, No or N/A |  | Three answers keep fine apart from not fine and does not apply. A note for every No gives the place and what was seen, which is what a defect report is built from. HSE says the report must note defects and any corrective action taken even if prompt.
Ties and anchors |  | Ties hold the scaffold to the building. HSE says ties are installed as it is erected and removed in stages as it is struck, and that an equivalent tie must be provided if one is moved to allow work. A moved tie is a change to the design.
Loading, signs and tags |  | Checks the load against the design, that the status marker matches what was found today, and that nothing has been added that the design did not allow. HSE says never to sheet or net a scaffold without telling those who designed and erected it, and that a tag is not a legal requirement but can supplement the record.
Protection of the public and of people below |  | The harm from a scaffold is not only to those on it. OSHA's rule asks for falling object protection, CCOHS says not to work below a scaffold without head protection, and HSE says erection and dismantling should not take place over people or busy pavements.
Electrical and overhead hazards |  | Contact with power lines or an overhead obstruction is a hazard to the people on the scaffold. OSHA's rule sets distances that depend on voltage, CCOHS says not to use scaffolds near electrical wires, and the line owner or your rules decide the distance for you.
Decision |  | The result in three words: safe to use, safe to use with restrictions, or do not use. Restrictions are written out, such as one bay closed or a load limit, so users know what is allowed. OSHA's rule says a damaged part is repaired, replaced, braced or removed from service.
Tag or sign changed |  | A decision that is not shown on the scaffold is not a decision to the people using it. The field records what was changed: a new tag, a tag removed, a do-not-use sign or a barrier, with its number or wording, the time and who did it.
Defects, action, owner and due date |  | HSE says the report notes any defect and the corrective action taken, and that doing so helps spot a recurring problem. Each defect has an owner and a due date, and is closed only when someone has looked at the fix.
Inspector's competence |  | HSE, OSHA and the Work at Height Regulations all rely on a competent person, and they do not all define it in the same words. Who decides competence is your own procedure, so the form asks what it was based on, with a reference and any expiry.
Next inspection and sign-off |  | The interval or trigger comes from your rule or procedure, which differs by jurisdiction, and the form asks for its reference. The signatures show who inspected, who is in charge of the scaffold or area and, if told, the erector. Where the record is kept and for how long is again a matter for your rules.

## Example (illustrative)
Illustrative example: invented, describes no real organisation
A record for an invented scaffold on an invented site (invented people, references and dates)
Section | Entry
1 Scaffold and site details | Riverside Depot extension, north elevation, grid lines 4 to 9. Scaffold ID SC-014, system scaffold, lifts 1 to 3 inspected, three boarded lifts with two working platforms. Erected by a contractor's scaffold gang. Design reference: erector's drawing D-014 at revision B. Intended use and load class copied from that drawing: general access, and the load class as the drawing states it.
2 Reason for this inspection | Periodic, and after a night of strong winds.
3 Checks | 34 checks: 29 Yes, 3 No and 2 N/A, which adds up to 34. The three Nos: check 14, a build-up of offcuts on the lift 2 platform, cleared on the spot; check 17, no toe board on the north bay of lift 3; check 26, the barrier below the north end had been moved aside and was put back. The two N/A: check 27, no public route beside the scaffold, and check 29, no overhead lines on this elevation.
4 Decision and tag or sign changed | Safe to use with restrictions: lift 3 north bay is closed until the toe board is fitted and checked, and lifts 1 and 2 are open. The tag at the ladder bay was replaced with a new tag showing the restriction, and a do-not-use sign and a barrier were put at the north bay of lift 3, done at 08:40 by the inspector. The site foreman and the two crews on the scaffold were told.
5 Defects, action, owner and due date | Line 1: check 17, toe board missing, lift 3 north bay; fit and check it; the erector's supervisor; due the same day; closed when the inspector had looked at it. Line 2: check 26, barrier below moved; fix the barrier so it cannot be moved without a tool; the site foreman; due in 2 days.
6 Inspector's competence | The site manager, who holds a scaffold inspection course certificate (invented reference SI-221, no expiry on it) and was appointed in writing under the site's own procedure SP-12 (invented) for system scaffolds of this complexity. Competent for this type: yes, as that procedure decides.
7 Next inspection and sign-off | Re-inspect lift 3 north bay when the toe board is fitted. The next full inspection falls at the interval set by SP-12 (invented), and sooner after any alteration or strong wind. The record is kept in the site file under SP-12's rule. Signed by the inspector and the site foreman as the person in charge; the erector's supervisor was told by phone.

## About
Template | Scaffold Inspection Record Template
Printable form | /downloads/templates/scaffold-inspection-template.pdf
Page | https://qhsetech.com/templates/scaffold-inspection-template
Last updated | 2026-10-20
Note | General template, not legal or certification advice. Adapt it to your own procedures and to the requirements that apply to you.
What this workbook is | A spreadsheet for typing and for keeping a log. The PDF is the printable form. This file adds no formula and no rule.